| Posted: Oct 21, 2004 5:24 AM Post subject: Component & Appliance Life Expectancy |  |
| --- | --- |
| Members & Guest: The below listing is a sampling of life expectancies for different products and materials used in homes, as listed in a report titled "1997 Housing Facts, Figures and Trends" published by the National Association of Home Builders (NAHB), Washington, D.C. APPLIANCES Compactor - 10 years. Dishwasher - 10 years. Garbage Disposer - 10 years. Dryer - 10 years. Freezer (compact) - 12 years. Freezer (standard) - 16 years. Microwave Oven - 11 years. Range (freestanding and built-in, electric) - 17 years. Range (freestanding and built-in, gas) - 19 years. Range (high oven, gas) - 14 years. Refrigerator (compact) - 14 years. Refrigerator (standard) - 17 years. Washer (automatic and compact) - 13 years. Exhaust Fans - 20 years. BATHROOM FIXTURES Cast Iron bathtub - 50 years. Fiberglass bathtub and shower - 10-15 years. Shower door (average quality) - 25 years. Toilet - 50 years. CABINETS Kitchen cabinets - 15-20 years. Medicine cabinet/bath vanity - 20 years. COUNTERTOPS Laminate - 10-15 years. Ceramic tile (high grade installation) - Lifetime. Wood/butcher block - 20+ years. Granite - 20+ years. DOORS Screen - 25 - 50 years. Interior (not perfect hollow core) - <30 years to life. Interior (solid core) - 30 years to life. Exterior (protected overhang) - 80-100 years. Exterior (unprotected and exposed) - 25-30 years. Folding - 30 years to life. Garage door - 20 - 50 years. Garage door opener - 10 years. FINISHES (Used for waterproofing) Paint, plaster and stucco - 3-5 years. Sealer, silicone, and waxes - 1-5 years. FLOORS Oak or pine - Lifetime Slate flagstone - Lifetime Vinyl sheet or tile - minimum Terrazzo - Lifetime Carpeting - 11 years Marble - Lifetime FOOTINGS & FOUNDATIONS Poured footing & foundation - 200 years. Concrete block - 100 years. Cement - 50 years. Waterproofing (bituminous coating) - 10 years. Termite proofing - 5 years. HEATING, VENTILATION & AIR CONDITIONING Air conditioning unit (central) - 15 years. Air conditioning unit (window) - 10 years. Baseboard heat units - 20 years. Humidifier - 8 years. Water Heater (electric) - 14 years. Water Heater (gas) - 11 - 13 years. Forced air furnace, heat pump - 15 years. Furnace, gas or oil fired - 18 years. HOME SECURITY APPLIANCES Intrusion system - 14 years. Smoke Detector - 12 years. Smoke/fire/intrusion system - 10 years. LANDSCAPING Wooden deck - 15 years. Brick and concrete patio - 24 years. Tennis court - 10 years. Concrete walk - 24 years. Gravel walk - 4 years. Asphalt driveway - 10 years. Swimming pool - 18 years. Sprinkler system - 12 years. Fence - 12 years. PAINTS & STAINS Exterior paint on wood, brick and aluminum - 7-10 years. Interior wall paint - 5-10 years. Interior trim and door paint - 5-10 years. Interior wallpaper - 7 years. PLUMBING Faucets (low quality) - 13-15 years. Faucets (high quality) 15-20 years. Sinks (enamel steel sink) - 5-10 years. Sinks (enamel cast iron sink) - 25-30 years. Sinks (Porcelain sink) - 25-30 years. Waste pipe (concrete) - 50-100 years. Waste pipe (cast iron) - 75-100 years. ROOFING Asphalt and wood shingles and shakes - 15-30 years. Asphalt composition shingle - 15-30 years. Asphalt overlag - 25-35 years. Built-up roofing (asphalt) - 12-25 years. Built-up roofing (coat and tar) - 12-30 years. Gutters and downspouts - 30 years. Slate - 50-100 years. Sheet metal - 20-50 years. Tile - 50 years. SIDING Aluminum Siding - 20-50 years. Steel Siding - 50 years to Life. Vinyl Siding - 50 years. Wood Siding - 10 - 100 years. WINDOWS Aluminum casement - 10-20 years. Screens - 25 - 50 years. Window glazing - 20 years. Wood casement - 20-50 years |